|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BLOCK TRANSFORMATOREN-ELEKTRONIK GMBH |
| Max-Planck-Strasse 36-46  27283 Verden GERMANY |
|  |  |  |
| **This is to certify that**  **representative samples of** |  | POWER CIRCUIT AND MOTOR-MOUNTED APPARATUS |
| SEE ADDENDUM PAGE FOR MODELS |
|  |  |  |
|  |  | Have been investigated by UL in accordance with the Standard(s) indicated on this Certificate. |
|  |  |  |
| **Standard(s) for Safety:** |  | UL 508 & CSA C22.2 No. 14-13 Standard for Industrial Control Equipment |
| **Additional Information:** |  | See the UL Online Certifications Directory at [www.ul.com/database](http://www.ul.com/database) for additional information |

­­­

Only those products bearing the UL Certification Mark should be considered as being covered by UL's Certification and Follow-Up Service.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

**Models/Product:-**

USL, CNL – Open Type Devices, EB Series, Special-purpose Solid-state switches, Model EB-, followed by any number 0 to 3, followed by 7 or 8, followed by 24, followed by a number 005 through 100, may be followed by additional numbers and/or letters.

USL, CNL – Open Type Devices, EB Series, Solid-state distribution module, Model EB-, followed by GND, may be followed by 4 or 8, may be followed by additional numbers and/or letters.

USL, CNL – Open Type Devices, EB Series, Solid-state output distribution module, Model EB-, followed by PMM, may be followed by 4 or 8, may be followed by additional numbers and/or letters.

USL, CNL – Open Type Devices, EB Series, Solid-state communication module, Model EB-, followed by MODBUS-RTU, may be followed by additional numbers and/or letters.