File E219022 Vol. 2 Sec. 22 Page 4 Issued: 2011-03-23

 and Report

Conditions of Acceptability:

1. These devices shall be used within their Recognized ratings as described in the ratings section above.

2. The suitability of the mounting means is to be determined in the end use application.

3. These devices have been evaluated for factory wiring only.

4. These devices have been investigated for use in a Pollution Degree 2 environment.

5. These devices are to be installed in a suitable end-product enclosure.