|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BLOCK Transformatoren-Elektronik GmbH |
| Max-Planck-Strasse 36-46 Verden 27283Germany |
|  |  |  |
| **This is to certify that****representative samples of** |  | NMTR7 - Power Circuit and Motor-mounted Apparatus Certified for Canada |
| See Addendum Page for Product Designation(s). |
|  |  |  |
| UL-CA-2246895-2 |  | Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate. |
|  |  |  |
| **Standard(s) for Safety:** |  | CSA C22.2 No. 61010-2-201:18, 2nd Ed., Issue Date: 2018-02-01, CSA C22.2 NO. 61010-1-12, 3rd Ed., Issue Date: 2012-05-11, Revision Date: 2018-11-01 |
| **Additional Information:** |  | See the UL Online Certifications Directory at <https://iq.ulprospector.com> for additional information |

E219022-20221229

This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.

Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements

|  |  |
| --- | --- |
|  |  |
| **Model** | **Category Description** |
| PCC-0124-100-x, where x may be 0 to 99 or A to Z or mix with numbers and letters denoting non safety relevant options | Open Type Switch Mode Power Supply |

|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BLOCK Transformatoren-Elektronik GmbH |
| Max-Planck-Strasse 36-46 Verden 27283Germany |
|  |  |  |
| **This is to certify that****representative samples of** |  | NMTR - Power Circuit and Motor-mounted Apparatus |
| See Addendum Page for Product Designation(s). |
|  |  |  |
| UL-US-2249339-2 |  | Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate. |
|  |  |  |
| **Standard(s) for Safety:** |  | UL 61010-1, 3rd Ed., Issue Date: 2012-05-11, Revision Date: 2019-07-19, UL 61010-2-201, 2nd Ed., Issue Date: 2018-05-14 |
| **Additional Information:** |  | See the UL Online Certifications Directory at <https://iq.ulprospector.com> for additional information |

E219022-20221229

This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.

Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements

|  |  |
| --- | --- |
|  |  |
| **Model** | **Category Description** |
| PCC-0124-100-x, where x may be 0 to 99 or A to Z or mix with numbers and letters denoting non safety relevant options | Open Type Switch Mode Power Supply |