|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BLOCK Transformatoren-Elektronik GmbH  Max-Planck-Strasse 36-46  Verden27283 DE |
|  |  |  |
| **This is to certify that**  **representative samples of** |  | POWER CIRCUIT AND MOTOR-MOUNTED APPARATUS - COMPONENT |
| See Addendum Page for Product Designation(s). |
|  |  |  |
|  |  | Have been investigated by UL in accordance with the component requirements in the Standard(s) indicated on this Certificate. UL Recognized components are incomplete in certain constructional features or restricted in performance capabilities and are intended for installation in complete equipment submitted for investigation to UL LLC. |
|  |  |  |
| **Standard(s) for Safety:** |  | UL 508, CSA C22.2 No. 14-05, Industrial Control Equipment |
| **Additional Information:** |  | See the UL Online Certifications Directory at <https://iq.ulprospector.com> for additional information |

This *Certificate of Compliance* does not provide authorization to apply the UL Recognized Component Mark. Only the UL Follow-Up Services Procedure provides authorization to apply the UL Mark.

Only those products bearing the UL Recognized Component Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Recognized Component Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements

Electronic Filters, Model Nos. HFxy (where X can be letter M or any other letter or 0-9 and y (optional) can be letter A to Z or 0-9), followed by FA or FB, followed by 8, 12, 15, 28, 34, 57, 80, 95, 115, 145, 175, 230, 260, 295, 345 followed by 460 or followed by 7, 13, 18, 21 24, 30, 50, 70, 100, 125, 150, 200, 225, 255, 300 followed by 400.

General:

These devices are open type harmonic filters. They are designed for used on the line side of power conversion equipment.