Icon

Description automatically generated

4

UL-US-2144772-8

E219022-20210928

**Certificate of**

**Compliance**

|  |  |  |
| --- | --- | --- |
|  |  | Issued to: |
| **Certificate Number:**  UL-US-2144772-8  **Report Reference:**  E219022-20210928  **Issue Date:**  2025-05-15 |  | **BLOCK Transformatoren-Elektronik GmbH**  **Max-Planck-Strasse 36-46, Verden, 27283, DE**  This certificate confirms that representative samples of:  **NMTR - Power Circuit and Motor-mounted Apparatus**  **See Addendum Page for Product Designation(s).**  Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate.  **UL 61010-2-201, Edition 2, Issue Date 2018-05-14, Revision Date 2022-08-08**, **UL 61010-1, 3rd Ed., Issue Date: 2012-05-11, Revision Date: 2023-06-06**  Additional Information:  See UL Product iQ® at <https://iq.ulprospector.com> for additional information. |
|  |  | This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.  Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.  Look for the UL Certification Mark on the product. 1 |

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

|  |
| --- |
| **Power Circuit and Motor Mounted Apparatus** |
| **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : PC-0524-400-0  **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : PCC-0524-100-00, PCC-0524-100-0U, PCC-0524-200-00, PCC-0524-200-0U, PCX-0524-100-YZ, PCX-0524-200-YZ *The following applies to all devices unless otherwise specified.*  **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : The alternate designation for the models PCC-0524-200-0X is PCX-0524-100-YZ, and model No. PCC-0524-200-0X is PCX-0524-100-YZ, where X, Y, Z *may be 0 to 99 or A to Z or mix with numbers and letters denoting non safety relevant options.* |

A red circle with black background

Description automatically generated

4

UL-CA-2137596-8

E219022-20210928

**Certificate of**

**Compliance**

|  |  |  |
| --- | --- | --- |
|  |  | Issued to: |
| **Certificate Number:**  UL-CA-2137596-8  **Report Reference:**  E219022-20210928  **Issue Date:**  2025-05-15 |  | **BLOCK Transformatoren-Elektronik GmbH**  **Max-Planck-Strasse 36-46, Verden, 27283, DE**  This certificate confirms that representative samples of:  **NMTR7 - Power Circuit and Motor-mounted Apparatus Certified for Canada**  **See Addendum Page for Product Designation(s).**  Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate.  **CSA C22.2 No. 61010-2-201:18, 2nd Ed., Issue Date: 2018-02-01**, **CSA C22.2 No. 61010-1:12, Edition 3, Issue Date 2012-05, Revision Date 2023-06**  Additional Information:  See UL Product iQ® at <https://iq.ulprospector.com> for additional information. |
|  |  | This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.  Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.  Look for the UL Certification Mark on the product. 1 |

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

|  |
| --- |
| **Power Circuit and Motor Mounted Apparatus** |
| **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : PC-0524-400-0  **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : PCC-0524-100-00, PCC-0524-100-0U, PCC-0524-200-00, PCC-0524-200-0U, PCX-0524-100-YZ, PCX-0524-200-YZ *The following applies to all devices unless otherwise specified.*  **Model(s):** **Low Voltage Uninterruptable Power Supply Switch**, : The alternate designation for the models PCC-0524-200-0X is PCX-0524-100-YZ, and model No. PCC-0524-200-0X is PCX-0524-100-YZ, where X, Y, Z *may be 0 to 99 or A to Z or mix with numbers and letters denoting non safety relevant options.* |